FIRE EVACUATION PROCEDURE

1. SHOUT FIRE!

Blow the whistle located by the Fire Extinguishers

If the fire is in the Kitchen notify another person, if the fire is small and if it is safe to do so, use the fire blanket. Then immediately exit the kitchen, closing the door behind you.

The person in charge of the hall or function will instruct all persons to leave the building, assisting those of limited mobility, using the nearest available exits which are to the north & south of the building from the lobby & the main entrance and assembling on the grass at the front of the building, having closed all doors.

2. CALL THE FIRE BRIGADE.

DIAL 999 AND GIVE THIS ADDRESS

THE ZONE HEALTH & WELLBEING HUB,

MAIN ROAD, DOWNDERRY

PL11 3JZ

3. The person in charge should ensure that once the rooms, kitchen & toilet areas have been evacuated, members of the public do not re-enter the building to collect personal belongings, etc.

4. On the arrival of the Fire Brigade, the person in charge of the hall should report to the Officer in Charge that all persons are safe, or should inform him/her of their last known position.

5. Persons should only attempt to extinguish the outbreak using the fire appliances provided if it is considered safe to do so & they are competent to use the extinguishers.

6.The assembly point is marked by a sign on the green area by the path   from the main door.